## Notes
Notes
IP addresses 0-19 for routers and Servers, 20-69 Utilites, 70-229 CSS and PRU’s and 230-254 DHCP

## Gen 5 IP Map
IP Address |  | Subnet Mask | System | Type | DESCRIPTION
|  |  |  | Public Address | Reserved Network
|  |  |  | Public Address | Reserved for Router
|  |  |  | Public Address | Reserved for Reporting Server
Public Address
Public Address
Public Address
Public Address
Public Address
P DNS
S DNS
IP Address |  | Description | System | Type | PLC DESCRIPTION | MECH. DESC
192.168.51. | 1 | Gateway
192.168.51. | 2
192.168.51. | 3
192.168.51. | 4
192.168.51. | 5
192.168.51. | 6
192.168.51. | 7
192.168.51. | 8
192.168.51. | 9
192.168.51. | 10
192.168.51. | 11
192.168.51. | 12
192.168.51. | 13
192.168.51. | 14
192.168.51. | 15
192.168.51. | 16
192.168.51. | 17
192.168.51. | 18
192.168.51. | 19
192.168.51. | 20
192.168.51. | 21
192.168.51. | 22
192.168.51. | 23
192.168.51. | 24
192.168.51. | 25
192.168.51. | 26
192.168.51. | 27
192.168.51. | 28
192.168.51. | 29
192.168.51. | 30
192.168.51. | 31
192.168.51. | 32
192.168.51. | 33
192.168.51. | 34
192.168.51. | 35
192.168.51. | 36
192.168.51. | 37
192.168.51. | 38
192.168.51. | 39
192.168.51. | 40
192.168.51. | 41
192.168.51. | 42
192.168.51. | 43
192.168.51. | 44
192.168.51. | 45
192.168.51. | 46
192.168.51. | 47
192.168.51. | 48
192.168.51. | 49
192.168.51. | 50
192.168.51. | 51
192.168.51. | 52
192.168.51. | 53
192.168.51. | 54
192.168.51. | 55
192.168.51. | 56
192.168.51. | 57
192.168.51. | 58
192.168.51. | 59
192.168.51. | 60 | DHCP
192.168.51. | 61 | DHCP
192.168.51. | 62 | DHCP
192.168.51. | 63 | DHCP
192.168.51. | 64 | DHCP
192.168.51. | 65 | DHCP
192.168.51. | 66 | DHCP
192.168.51. | 67 | DHCP
192.168.51. | 68 | DHCP
192.168.51. | 69 | DHCP
192.168.51. | 70 | DHCP
192.168.51. | 71
192.168.51. | 72
192.168.51. | 73
192.168.51. | 74
192.168.51. | 75
192.168.51. | 76
192.168.51. | 77
192.168.51. | 78
192.168.51. | 79
192.168.51. | 80
192.168.51. | 81
192.168.51. | 82
IP Address |  | Description | System | Type | PLC DESCRIPTION | MECH. DESC
192.168.20. | 1 | Gateway
192.168.20. | 2
192.168.20. | 3
192.168.20. | 4 | UPS
192.168.20. | 5 | SCADA-1
192.168.20. | 6 | SCADA-2
192.168.20. | 7 | IMP
192.168.20. | 8 | Reporting
192.168.20. | 9
192.168.20. | 10
192.168.20. | 11
192.168.20. | 12 | VPN | Router
192.168.20. | 13 | VPN | Router
192.168.20. | 14 | VPN | Router
192.168.20. | 15 | VPN | Router
192.168.20. | 16 | VPN | Router
192.168.20. | 17 | VPN | Router
192.168.20. | 18 | VPN | Router
192.168.20. | 19 | VPN | Router
192.168.20. | 20 |  | UTL | PLC
192.168.20. | 21 |  | UTL | HMI
192.168.20. | 22 |  | UTL
192.168.20. | 23
192.168.20. | 24
192.168.20. | 25
192.168.20. | 26
192.168.20. | 27
192.168.20. | 28
192.168.20. | 29
192.168.20. | 30 |  | VSS
192.168.20. | 31 |  | VSS
192.168.20. | 32 |  | VSS | VFD 1 | B101A
192.168.20. | 33 |  | VSS | VFD 2 | B101B
192.168.20. | 34 |  | VSS
192.168.20. | 35 |  | VSS
192.168.20. | 36
192.168.20. | 37
192.168.20. | 38
192.168.20. | 39
192.168.20. | 40
192.168.20. | 41
192.168.20. | 42
192.168.20. | 43
192.168.20. | 44
192.168.20. | 45 |  | ECD | PLC
192.168.20. | 46 |  | ECD | HMI
192.168.20. | 47 |  | ECD
192.168.20. | 48 |  | ECD
192.168.20. | 49 |  | ECD
192.168.20. | 50 |  | Cool/Chill | PLC
192.168.20. | 51 |  | Cool/Chill | HMI
192.168.20. | 52 |  | Cool/Chill | VFD | P101A | Cool Pump A
192.168.20. | 53 |  | Cool/Chill | VFD | P101B | Cool Pump B
192.168.20. | 54 |  | Cool/Chill | VFD | B101A | Cool Fan A
192.168.20. | 55 |  | Cool/Chill | VFD | B101B | Cool Fan B
192.168.20. | 56 |  | Cool/Chill | VFD | P202A | Chill Pump A
192.168.20. | 57 |  | Cool/Chill | VFD | P202B | Chill Pump B
192.168.20. | 58 |  | Cool/Chill
192.168.20. | 59 |  | Cool/Chill
192.168.20. | 60 |  | PSS | PLC
192.168.20. | 61 |  | PSS | HMI
192.168.20. | 62 |  | PSS | VFD | P102A | Oil Pump A
192.168.20. | 63 |  | PSS | VFD | P102B | Oil Pump B
192.168.20. | 64 |  | PSS
192.168.20. | 65 |  | PSS
192.168.20. | 66
192.168.20. | 67
192.168.20. | 68
192.168.20. | 69
192.168.20. | 70 | POD A | CSS | PLC
192.168.20. | 71 | POD A | CSS | HMI
192.168.20. | 72 | POD A | CSS | VFD | P101A
192.168.20. | 73 | POD A | CSS | VFD | P101B
192.168.20. | 74 | POD A | CSS | VFD | P303A
192.168.20. | 75 | POD A | CSS | VFD | P303B
192.168.20. | 76 | POD A
192.168.20. | 77 | POD A
192.168.20. | 78
192.168.20. | 79
192.168.20. | 80
192.168.20. | 81
192.168.20. | 82
192.168.20. | 83
192.168.20. | 84
192.168.20. | 85
192.168.20. | 86
192.168.20. | 87
192.168.20. | 88
192.168.20. | 89
192.168.20. | 90
192.168.20. | 91
192.168.20. | 92
192.168.20. | 93
192.168.20. | 94
192.168.20. | 95
192.168.20. | 96
192.168.20. | 97
192.168.20. | 98
192.168.20. | 99
192.168.20. | 100
192.168.20. | 101
192.168.20. | 102
192.168.20. | 103
192.168.20. | 104
192.168.20. | 105 | Reserved Therma-flite | PRU-A
192.168.20. | 106 | Reserved Therma-flite | PRU-A
192.168.20. | 107 | Reserved Therma-flite | PRU-A
192.168.20. | 108 | Reserved Therma-flite | PRU-A
192.168.20. | 109 | Reserved Therma-flite | PRU-A
192.168.20. | 110 | Reserved Therma-flite | PRU-A
192.168.20. | 111 | Reserved Therma-flite | PRU-A
192.168.20. | 112 | Reserved Therma-flite | PRU-A
192.168.20. | 113 | Reserved Therma-flite | PRU-A
192.168.20. | 114 | Reserved Therma-flite | PRU-A
192.168.20. | 115 | Reserved Therma-flite | PRU-A
192.168.20. | 116 | Reserved Therma-flite | PRU-A
192.168.20. | 117 | Reserved Therma-flite | PRU-A
192.168.20. | 118 | Reserved Therma-flite | PRU-A
192.168.20. | 119 | Reserved Therma-flite | PRU-A
192.168.20. | 120 | Reserved Therma-flite | PRU-A
192.168.20. | 121 | Reserved Therma-flite | PRU-A
192.168.20. | 122 | Reserved Therma-flite | PRU-A
192.168.20. | 123 | Reserved Therma-flite | PRU-A
192.168.20. | 124 | Reserved Therma-flite | PRU-A
192.168.20. | 125 | Reserved for In-Feed System | IFS-A
192.168.20. | 126 | Reserved for In-Feed System | IFS-A
192.168.20. | 127 | Reserved for In-Feed System | IFS-A
192.168.20. | 128 | Reserved for In-Feed System | IFS-A
192.168.20. | 129 | Reserved for In-Feed System | IFS-A
192.168.20. | 130 | Reserved for In-Feed System | IFS-A
192.168.20. | 131 | Reserved for In-Feed System | IFS-A
192.168.20. | 132 | Reserved for In-Feed System | IFS-A
192.168.20. | 133 | Reserved for In-Feed System | IFS-A
192.168.20. | 134 | Reserved for In-Feed System | IFS-A
192.168.20. | 135
192.168.20. | 136
192.168.20. | 137
192.168.20. | 138
192.168.20. | 139
192.168.20. | 140
192.168.20. | 141
192.168.20. | 142
192.168.20. | 143
192.168.20. | 144
192.168.20. | 145
192.168.20. | 146
192.168.20. | 147
192.168.20. | 148
192.168.20. | 149
192.168.20. | 150
192.168.20. | 151
192.168.20. | 152
192.168.20. | 153
192.168.20. | 154
192.168.20. | 155
192.168.20. | 156
192.168.20. | 157
192.168.20. | 158
192.168.20. | 159
192.168.20. | 160
192.168.20. | 161
192.168.20. | 162
192.168.20. | 163
192.168.20. | 164
192.168.20. | 165
192.168.20. | 166
192.168.20. | 167
192.168.20. | 168
192.168.20. | 169
192.168.20. | 170
192.168.20. | 171
192.168.20. | 172
192.168.20. | 173
192.168.20. | 174
192.168.20. | 175
192.168.20. | 176
192.168.20. | 177
192.168.20. | 178
192.168.20. | 179
192.168.20. | 180
192.168.20. | 181
192.168.20. | 182
192.168.20. | 183
192.168.20. | 184
192.168.20. | 185
192.168.20. | 186
192.168.20. | 187
192.168.20. | 188
192.168.20. | 189
192.168.20. | 190
192.168.20. | 191
192.168.20. | 192
192.168.20. | 193
192.168.20. | 194
192.168.20. | 195
192.168.20. | 196
192.168.20. | 197
192.168.20. | 198
192.168.20. | 199
192.168.20. | 200
192.168.20. | 201
192.168.20. | 202
192.168.20. | 203
192.168.20. | 204
192.168.20. | 205
192.168.20. | 206
192.168.20. | 207
192.168.20. | 208
192.168.20. | 209
192.168.20. | 210
192.168.20. | 211
192.168.20. | 212
192.168.20. | 213
192.168.20. | 214
192.168.20. | 215
192.168.20. | 216
192.168.20. | 217
192.168.20. | 218
192.168.20. | 219
192.168.20. | 220
192.168.20. | 221
192.168.20. | 222
192.168.20. | 223
192.168.20. | 224
192.168.20. | 225
192.168.20. | 226
192.168.20. | 227
192.168.20. | 228
192.168.20. | 229
192.168.20. | 230 | DHCP
192.168.20. | 231 | DHCP
192.168.20. | 232 | DHCP
192.168.20. | 233 | DHCP
192.168.20. | 234 | DHCP
192.168.20. | 235 | DHCP
192.168.20. | 236 | DHCP
192.168.20. | 237 | DHCP
192.168.20. | 238 | DHCP
192.168.20. | 239 | DHCP
192.168.20. | 240 | DHCP
192.168.20. | 241 | DHCP
192.168.20. | 242 | DHCP
192.168.20. | 243 | DHCP
192.168.20. | 244 | DHCP
192.168.20. | 245 | DHCP
192.168.20. | 246 | DHCP
192.168.20. | 247 | DHCP
192.168.20. | 248 | DHCP
192.168.20. | 249 | DHCP
192.168.20. | 250 | DHCP
192.168.20. | 251 | DHCP
192.168.20. | 252 | DHCP
192.168.20. | 253 | DHCP
192.168.20. | 254 | DHCP
192.168.20. | 255